Good Afternoon Florida Pre-Licensure Electrolysis Training Programs & Other Interested Parties:

Please be advised that changes to Rule 64B8-56.002, F.A.C., regarding revised requirements for an Electrologist to provide laser and light-based hair removal services, will be effective March 14, 2019.  The new rule language is attached for your reference.  Please see additional information below regarding the impact of these changes.

Approved 320-Hour Combined Program Graduates who Completed the Combined State Licensure Examination
The revisions will formalize the ability for persons who complete (or completed) the combined modality curriculum and the combined modality state licensure examination to offer those services without additional requirements to complete the 30-hour laser and light-based hair removal course and CME credentialing requirements.  Note: If a combined program graduate completed other than the combined state licensure examination, they have the option to sit for the combined examination to qualify for the exemption from the 30-hour course and the CME.  Otherwise, they must still complete the additional requirements to offer laser and light-based hair removal services.

Approved 320-Hour Traditional Electrolysis Program Graduates

Persons who completed the traditional electrolysis curriculum standards, prior to the requirement for the combined curriculum, will still be required to complete an approved 30-hour laser and light-based hair removal course and CME credentialing requirements to offer those services, regardless of whether they sat for the electrolysis-only or combined state licensure examination.

Additional communication will be forthcoming on documentation that will be provided from this office to persons who complete (completed) both combined modality requirements.

Please express to your students and graduates that the direct (on premises) supervision requirement has not changed.  All licensed Electrologists providing laser/light-based hair removal, regardless of training and/or exam completed, should be prepared to submit the required Physician-Electrologist protocols to this office, prior to utilizing lasers and light-based devices in their practice.

If there are any questions, please feel free to reply to this e-mail or call 850-245-4373.

Sincerely,

Anna King

Program Operations Administrator

Occupational Therapy, Psychology,

School Psychology & Electrolysis Council

Department of Health |Division of Medical Quality Assurance

Bureau of Health Care Practitioner Regulation

Below are the Current Florida Regulations

## 64B8-56.002 Equipment and Devices; Protocols for Laser and Light-Based Devices.

(1) The Board of Medicine approves the following equipment and devices for the permanent removal of hair by licensed electrologists if they are used pursuant to requirements established by the Board.

(a) Needle type epilators.

(b) Laser and light-based hair removal or reduction devices cleared by the United States Food and Drug Administration (FDA) for hair removal or reduction.

(2) An electrologist may not use laser or light-based devices for hair removal or reduction only if they:

(a) Have completed training in:

1. Needle-type epilation and laser and light-based hair removal and reduction that meets the requirements set forth in subsections 64B8-52.004(2) and (3), F.A.C., and have passed the Society for Clinical and Medical Hair Removal test for certification as a Certified Medical Electrologist, or

2. Needle-type epilators combined with laser and light-based hair removal and reduction that meets the curriculum of rule 64B8-53.002, F.A.C., and have passed a licensure examination approved by the Board in rule 64B8-51.002, F.A.C., that tests both epilator and laser and light-based modalities;

(b) Are using only the laser and light-based hair removal or reduction devices upon which they have been trained; and,

(c) Are operating under the direct supervision and responsibility of a physician properly trained in hair removal and licensed pursuant to the provisions of chapter 458 or 459, F.S.

(3)(a) The supervising physician, initially upon assuming duties as the supervisor and semiannually thereafter, shall review and inspect the techniques, procedures, and equipment utilized by the electrologist in the performance of laser and light-based hair removal or reduction.

(b) The supervising physician shall ensure that the electrologist has received semi-annual training in the areas of infection control, sterilization, and emergency procedures.

(4)(a) The supervising physician and the electrologist shall develop jointly written protocols regarding the medical condition for individuals to receive laser and light-based hair removal or reduction treatment; specific conditions and the procedure for identifying conditions that require direct evaluation or specific consultation by the physician; treatment of routine minor problems resulting during or from laser and light-based hair removal or reduction; and detailed procedures to be followed in the event of emergency situations developing during the performance of or as a result of laser and light-based hair removal or reduction. These written protocols must be signed, dated, and maintained in a readily available location on the premises where the electrologist practices. One copy shall be maintained by the supervising physician and one copy must be filed with the Department of Health. The written protocols which are kept on the premises of the electrologist will be readily available for inspection and review by agents of the Department of Health. The parties to a protocol must notify the Department within 30 days of the termination of their professional relationship.

(b) The written protocol shall include and require that the initial consultation with each patient must include an examination and assessment by a physician licensed pursuant to chapter 458 or 459, F.S.

(5) Pursuant to section 456.072(1)(i), F.S., any physician who knows that any electrologist is engaged in unsafe practice must report that electrologist to the Department of Health immediately.

(6) Any physician who provides supervision to an electrologist must keep the Board informed of the number of electrologists the physician is supervising. No physician is authorized to supervise more than four (4) electrologists at any one time.

Rulemaking Authority 458.331(1)(v), 478.43(1), (4) FS. Law Implemented 458.331(1)(v), 458.348(3), 478.42(5), 478.43(1), (3), (4) FS. History–New 9-12-01, Amended 2-28-02, 7-23-06, 3-12-08, 11-4-14, 2-15-17, 3-14-19.